Power Supply Controller 4-CHANNEL MSS

Burden/Comp Board Configuration

Calibration

Date: ___1/23/2026___________

Magnet Assignment:  _BTA-Q12-Q8-Q7-Q11______________________

Burden Resistor Board Configuration:

Channel 1 __8.00_________		Channel 3 _6.00_________

Channel 2  _8.00__________		Channel 4 _6.79_________

Compensation Resistor/Capacitor Board Configuration:

Channel 1 Kp (R) __4.7k______	Channel 3 Kp (R) __4.7k_______

Channel 1 Ki (C) ___10u________	Channel 3 Ki (C) ___10u________

Channel 2 Kp (R) __10k________	Channel 4 Kp (R) __4.7k_______

Channel 2 Ki (C) ___10u________	Channel 4 Ki (C) __10u__________

Calibration Configuration:

Gain/Offset:     Reference Data attached

Contents:

Test data document package: 4-Channel, Power Supply Controller

Product Model Number: PSC-4CH-MSS-AR-Slow XY Corr.

Product Serial Number:_0008______________

Reference Documents:

LBNL Subcontract Number: 7667173

LBNL Windchill Technical Note Document Number:  AL-1585-5859-L, REVD

Acceptance Test Report: Available in WINDCHILL