Power Supply Controller 4-CHANNEL MSS

Burden/Comp Board Configuration

Calibration

Date: ___2/02/2026___________

Magnet Assignment:  _BTA-Q15X-Q15Y-Q14X-Q14Y________________

Burden Resistor Board Configuration:

Channel 1 __33.33________		Channel 3 _33.33________

Channel 2  _33.33_________		Channel 4 _33.33________

Compensation Resistor/Capacitor Board Configuration:

Channel 1 Kp (R) __2k________	Channel 3 Kp (R) ____1k_______

Channel 1 Ki (C) ___4.7u______	Channel 3 Ki (C) ___4.7u_______

Channel 2 Kp (R) __2k_________	Channel 4 Kp (R) ____1k_______

Channel 2 Ki (C) ___4.7u______	Channel 4 Ki (C) __4.7u_________

Calibration Configuration:

Gain/Offset:     Reference Data attached

Contents:

Test data document package: 4-Channel, Power Supply Controller

Product Model Number: PSC-4CH-MSS-AR-Slow XY Corr.

Product Serial Number:_1036______________

Reference Documents:

LBNL Subcontract Number: 7667173

LBNL Windchill Technical Note Document Number:  AL-1585-5859-L, REVD

Acceptance Test Report: Available in WINDCHILL